迪拜中国学校信息提升工程设备及安装点位清单

- 工程范围

  - 本工程所有内容围绕三个部分展开：设备采购部分（附件一），海康设备捐赠部分（附件二）及安装调试部分（附件三）。

  - 本次信息提升工程，针对迪拜中国学校的实际校园情况，实现加强安全管控，提升学生管理效率，打造全方位的智慧校园的效果。

- 出入口和关键点位-黑名单识别/陌生人识别/学生轨迹多业务合一；

- 结合人脸相机、电子班牌、考勤相机刷脸记录，可以知道学生在校园内的移动路线；并通过最后一次出现的点位来判断当前学生所在的位置；

- 一层大厅主入口处增加2台相机；每层楼走廊两端的门口处2台相机；体育馆与教学楼连接处，2台相机可控制进入体育馆和进入教学楼的学生；

- 学校出入口和关键进出口-全校客流和人群密度监控；

- 学生数量统计重点关注3个场景：①教学楼；②运动馆；③功能教室；通过关键入口部署双目客流相机，对封闭区域学生人数进行统计；

- 校园关键场所和关键点位-异常行为事件检测，防范恶劣事件的发生：在重点的操场、走廊等关键位置，进行基于前端相机的视频流分析，分析异常行为事件，包括特定区域的人群密度、剧烈运动、打架等，辅助安全管理，提升对于异常行为事件的及时检测和响应效率；

- 校园关键场所和关键点位-安装紧急报警柱&报警箱&报警盒；室外篮球场附近增加一台报警箱，用于运动过程发生意外的学生，快速向保安室发起救助报警，并进行双向对讲。

- 教室-室内空气质量检测-打造优良教室环境；增加2台空气质量检测仪，安装在已有考勤相机的教室；

- 教室-学生专注度分析-辅助进行教学质量提升：AI监考, 基于行为中的左顾右盼等疑似作弊事件，进行事件抓拍，辅助进行作弊检测；学生专注度分析, 基于行为中的正向和负向事件，依据阈值，给出学生参与度曲线；

- 教室-同步课堂-基于现有的硬件设备，通过软件升级实现多课堂教学：Classlink定制版本支持输出对方教室画面，去掉额外的显示器；

- 教室-远程巡课-基于现有的硬件设备，通过软件升级实现远程巡课；

- 园区制高点-AR鹰眼监控；AR鹰眼共1台，一台负责校外停车场区域；

- 监控中心-电视墙：系统运维；系统参数配置/关键点位监控；全网监控/报警弹窗；

- 互动大屏/LED屏放置于机房，用于展示AR鹰眼和Dashboard；

- 监控中心-3D建模和数据看板；

- 基础新增点位需求：全纳教室增加一台半球；音乐、书法、美术教室各增加一台半球；功能教室连廊位置增加一台枪机；信息技术教室半球2台；共新增6台半球、1台枪机；一楼C119旁祈祷室相机移位；一楼C区室外走廊，相机角度调整；

  - 以上效果呈现的具体方案皆以附件一、二、三为基础。

2.附件部分

2.1  附件一：设备采购部分

| 类别 | 序号 | 设备名称 | 参数 | 数量 | 备注 |
| --- | --- | --- | --- | --- | --- |
| 新增安防点位 | 1 | 摄像机（枪机） | ●High quality imaging with 4 MP resolution ●Clear imaging against strong backlight due to 120 dB WDR technology ●Efficient H.265+ compression technology ● Water and dust resistant (IP67) ● Focus on human and vehicle targets classification based on deep learning | 3 |  |
| 新增三个教室设备 | 2 | 大屏幕一体机（86寸） | ● Ultra HD display with up to 3840 × 2160 resolution of input signal available. ● 20px ultra fine writing, and 2 mm diameter recognizable with the precision of 1 mm. ● Built-in Wi-Fi realizes miracasting without any cable connection. ● Built-in interactive whiteboard system allows annotating and sharing by QR code. ● Looping-out display available. ● Various audio and video interfaces for device access. ● Built-in network switch chip saves a network switch. ● Built-in Android system provides kinds of applications. ● Compatible with OPS/OPS-C devices, realizing smooth switch between built-in systems. ● Ultra-thin design with aluminum profile frame. | 3 |  |
|  | 3 | 摄像机（球机1） | ● High quality imaging with 8 MP resolution ● Excellent low-light performance via DarkFighter technology ● Efficient H.265+ compression technology to save bandwidth and storage ● Clear imaging against strong back light due to 120 dB true WDR technology ● 5 streams to meet a wide variety of applications ● Vandal proof (IK10) | 3 |  |
|  | 4 | 摄像机（球机2） | ● High quality imaging with 8 MP resolution ● Excellent low-light performance via DarkFighter technology ● Efficient H.265+ compression technology to save bandwidth and storage ● Clear imaging against strong back light due to 120 dB true WDR technology ● 5 streams to meet a wide variety of applications ● Vandal proof (IK10) | 2 |  |
|  | 5 | POE交换机（9口） | ● Intelligent PoE Management. When the power supply exceeds the limit, PoE ports intelligently manage the power supply, which extends the switch lifetime. ● Up to 300 m Long Range PoE Transmission. The distance between IPCs and switch can reach maximum 300 meters. ● 4/8-Core Adaptive Power Supply with Less Power Loss. 8-core power supply reduces the power loss on cables. ● 6KV Surge Protection to Improve Reliability in Harsh Environment. The built-in surge protection device protects the switch from the sudden lightning surge in harsh environment. ● Design for Video Transmission. VIP port ensures important data transmission when network congestion occurs. | 9 |  |
|  | 6 | 录播主机（教室用） | 8-ch HD-SDI interfaces input, BNC interface, 1080p/25 fps, 1080p/30 fps, 720p/25 fps, 720p/30 fps, 720p/50 fps, 720p/60 fps,Connectable to CVBS signal 2-ch HDMI/VGA input,1024 × 768, 1280 × 720, 1366 × 768, 1680 × 1050, 1920 × 1080 HDMI/VGA Loop out 1U case | 6 |  |
|  | 7 | 硬盘 | ST4000VX000,4T,5900RPM,3.5",SATA,SEAGATE | 3 |  |
|  | 8 | 阵列麦克风 | ● Adopts multi-mic array, picking up sounds in the radius up to 10 meters ● The built-in digital circuit is embedded with DSP processing unit and AGC technology to realize clear sound with high fidelity ● With multi-mic array design and self-adaptive beamforming technology, the microphone reduces reverberation effectively ● Supports accessing echo reference signal via line in interface, and with AEC algorithm, the microphone suppresses echo and squeal effectively ● Supports smart noise reduction, avoiding environmental noise ● The indicator is convenient for troubleshooting ● Supports network settings and transmitting the audio stream to network camera and DVR/NVR ● Supports 32 kHz audio sampling rate for HD sound ● Power over ethernet, convenient for installation | 7 |  |
| 软件 | 9 | 设备控制软件 | Video Surveillance Expansion Package. Prerequisite: Video Surveillance Base package . Supported: 1 camera manageable. | 6 |  |

附件二：海康设备捐赠部分

| Function | No | SAP Code | Model No | Description | Picture | Qty | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 学生轨迹 | 1 | 311320165 | iDS-2CD7146G0-IZS(2.8-12mm)(D)(O-STD) | ● High quality imaging with 4 MP resolution ● Excellent low-light performance via DarkFighter technology ● Clear imaging against strong back light due to 140 dB WDR technology ● Efficient H.265+ compression technology to save bandwidth and storage ● 5 streams to meet a wide variety of applications ● Water and dust resistant (IP67) and vandal proof (IK10) |  | 27 | GF:共15台； 主入口：2台； D区：4台； C区：3台； 西入口：2台； 功能教室入口方向：3台（3个教室）； 体育馆侧入口：1台； FF:共8台； C区：4台； D区：4台； SF：共4台； D区：4台； |
|  | 2 | 311317288 | iDS-2CD7A46G0-IZHS(2.8-12mm)(C)(O-STD) | ● High quality imaging with 4 MP resolution ● Excellent low-light performance via DarkFighter technology ● Clear imaging against strong back light due to 140 dB WDR technology ● Efficient H.265+ compression technology to save bandwidth and storage ● 5 streams to meet a wide variety of applications ● Water and dust resistant (IP67) and vandal proof (IK10) |  | 3 | 特殊位置替换3台7146半球为7A46枪机； 体育馆1个；Gate出口1个；C区到大会议区域1个 |
| 人数统计 | 3 | 311320239 | DS-2CD6825G0/C-IV(S)(B) | ● High quality imaging with 2 MP resolution ● Efficient H.265+ compression technology ● Clear imaging against strong back light due to 120 dB true WDR technology ● 3D DNR technology delivers clean and sharp images ● -S: audio and alarm interface available ● Water and dust resistant (IP67) |  | 15 | 教学楼4+3+2（1/2/3层楼）； 音乐、美术、书法教室：2台； 体育馆入口：2台 |
|  | 4 | 302703082 | DS-2272ZJ-KL(White) | ● Supports wall mounting and ceiling mounting ● Adjustable tilt angle from 0° to 65° ● Applies to people counting camera |  | 2 | 新增客流相机壁装支架2台，用于体育馆客流相机壁装 |
| 室外行为分析 | 5 | 306002542 | DS-IE1016-03U/BA(A7) | ● Behavior Analysis Server can detect the specific behaviors of individuals and groups in the perimeter, street, densely populated areas, indoor and other places, and provide professional video intelligent analysis applications ● Real-time detection and alarming of events such as line crossing, area intrusion, region entrance/exiting, loitering, parking, unattended baggage or object removal ● Real-time detection and alarming of people density, real-time people counting statistics and people counting statistics ● Real-time detection and alarming of events such as getting up, key person getting up, climbing, absence or sleep on duty, abnormal number of people, overstaying, sudden change of sound intensity, regional overstaying, physical conflict, standing up, sitting, people counting or uniform detection. ● Real-time detection and alarming of events such as fast moving, physical conflict, people gathering, falling down or unattended baggage detection. ● AI open platform algorithm detection: Real-time detection and alarm are performed on the object detection, single tag classification, multi tags classification, multi attributes classification, and mix (1 for detection and 3 for classification) algorithm events trained by the open platform. |  | 1 |  |
| AR鹰眼 | 6 | 327000616 | DS-2SF8C442MXS-DLW(24F0)(O-STD)(P3) | ● Captures a large area and great details at the same time ● High quality imaging with 4 MP resolution for both bullet channel and PTZ channel ● 24/7 colorful imaging and excellent low-light performance with DarkFighter technology ● Bullet channel tilt adjustable from 7° to 17° ● Secures an expansive area with 42 × optical zoom and 16 × digital zoom ● Expansive night view with up to 30 m white light distance and 300 m IR distance ● Supports deep learning functions ● Water and dust resistant (IP67) and vandal resistant (IK10) |  | 1 |  |
|  | 7 | 302701773 | DS-1602ZJ-P | ● Wall Mount for Speed Dome ● Aluminum alloy ● Platinum Gray |  | 1 | 鹰眼相机支架替换型号/中通服负责立杆 |
|  | 8 | 101701022 | LED,EUV-150S036ST-KW02,36V4.17A,150W | ● 36V4.17A ● NOACpowerwire |  | 1 | 新增鹰眼相机电源适配器 |
|  | 9 | 101500006 | AC power wire, British standard, 1.5M, Black |  |  | 1 | 适配器接头 |
| 校园报警 | 10 | 312300234 | DS-PEA22-B(B)(O-STD) | ● One-touch emergency calling ● High quality imaging with 2 MP bulit-in camera ● Real-time security via sound and voice detection ● Supports broadcasting ● Supports dual net ports ● Built-in SD slot supports MicroSD / SDHC / SDXC cards up to 128 GB ● Supports siren and audio expansion |  | 1 |  |
|  | 11 | 312300078 | DS-PEA4H-10(O-STD) | ● 10.1-inch touch screen ● Real-time alarm information display ● Supports microphone rod and VGA ● Supports auto noise suppression and echo cancellation ● Easy installation with Power over Ethernet (PoE) technology |  | 1 |  |
| 机房大屏 | 12 | 321000250 | DS-D5B86RB/C | ● Ultra HD display with up to 3840 × 2160 resolution of input signal available. ● 20px ultra fine writing, and 2 mm diameter recognizable with the precision of 1 mm. ● Built-in Wi-Fi realizes miracasting without any cable connection. ● Built-in interactive whiteboard system allows annotating and sharing by QR code. ● Looping-out display available. ● Various audio and video interfaces for device access. ● Built-in network switch chip saves a network switch. ● Built-in Android system provides kinds of applications. ● Compatible with OPS/OPS-C devices, realizing smooth switch between built-in systems. ● Ultra-thin design with aluminum profile frame. |  | 1 | 机房数据看板1块 |
|  | 13 | 321200078 | DS-D5AC9C5-8S2 | ● Intel UHD Graphic, support H.265 and 4K resolution ● Support M.2 nvme system disk quick start ● Support 3 USB 3.0 ports, 3 USB2.0 ports, 1 HDMI port, 1 DP interface，1 Type-C port ● Support dual channel memory ● Support Wi-Fi IEEE 802.11 a/b/g/n/ac |  | 1 |  |
|  | 14 | 321200048 | DS-D5ABKY2-B | Mobile Bracket, suitable for 86" |  | 1 |  |
| 空气质量检测 | 15 |  | DS-ZZMIG | 空气质量检测：智能网关 |  | 2 |  |
|  | 16 |  | DS-ZZMTHDPM | 空气质量检测：环境盒子 |  | 2 |  |
| 交换机 | 17 | 301801376 | DS-3E0510P-E(O-STD) | ● Layer 2 network switch designed for video data transmission ● 8 x 10/100/1000 Mbps ethernet ports, 1 x 10/100/1000 Mbps uplink ethernet port and 1 x 10/100/1000 Mbps uplink SFP port ● IEEE 802.3, IEEE 802.3u, IEEE 802.3x, IEEE 802.3ab, and IEEE 802.3z network standards available ● IEEE 802.3 af & at high PoE power supply ● Store-and-forward switching ● Safe and reliable using 6 KV high surge protection ● Plug and play ensures simplicity and convenience. |  | 2 | 8口POE交换机 |
|  | 18 | 301801380 | DS-3E0526P-E(O-STD) | ● Layer 2 network switch designed for video data transmission ● 24 x 10/100/1000 Mbps ethernet ports, 1 x 10/100/1000 Mbps uplink ethernet port and 1 x 10/100/1000 Mbps uplink SFP port ● IEEE 802.3, IEEE 802.3u, IEEE 802.3x, IEEE 802.3ab, and IEEE 802.3z network standards available ● IEEE 802.3 af & at high PoE power supply ● Store-and-forward switching ● Safe and reliable using 6 KV high surge protection ● Plug and play ensures simplicity and convenience. |  | 1 | 24口POE交换机 |
| 新增安防点位 | 19 | 311315958 | DS-2CD2183G2-I(2.8mm)(O-STD) | ● High quality imaging with 8 MP resolution ● Clear imaging against strong backlight due to 120 dB true WDR technology ● Efficient H.265+ compression technology ● Focus on human and vehicle targets classification based on deep learning ● -S: Audio and alarm interface available ● Water and dust resistant (IP67) and vandal-resistant (IK10) |  | 6 | 6台半球，1台枪机；可复用半球点位3台； |
| 智能分析NVR | 20 | 303613574 | iDS-9616NXI-I8/X(STD) | ● H.265+/H.265/H.264+/H.264 video formats ● Intelligent analytics based on deep learning algorithm ● Up to 16-ch perimeter protection ● Up to 8-ch facial recognition for video stream, or up to 16-ch facial recognition for face picture ● Up to 8-ch video structuralization ● Up to 16-ch IP cameras can be connected ● Up to 16-ch 1080p decoding capability |  | 2 |  |
|  | 21 | 303800749 | ST10000VE0008 | HDD,ST10000VE0008,10TB,7200,3.5",SATA |  | 4 |  |
| 学生相机 | 22 | 311315027 | iDS-2CD7186G0-IZS(2.8-12mm)(HIK EDU)/STU | ● High quality imaging with 8 MP resolution ● Excellent low-light performance via DarkFighter technology ● Efficient H.265+ compression technology to save bandwidth and storage ● Clear imaging against strong back light due to 120 dB true WDR technology ● 5 streams to meet a wide variety of applications ● Vandal proof (IK10) |  | 6 | 学生相机（D111、C103、C007） |
|  |  |  |  | Software |  |  |  |
| 软件License | 23 | 401000252 | HikCentral-E-Education-VSS-1Ch | Video Surveillance Expansion Package. Prerequisite: Video Surveillance Base package . Supported: 1 camera manageable. |  | 47 |  |
|  | 24 | 401000260 | HikCentral-E-Education-Course-1Classroom | Course Management Classroom Expansion Package Prerequisite: Course Management Module Expansion Package Supported: One classroom manageable. Online classroom to share video & audio to remotely classroom, good class video backup; Teacher management; Student management; Space management; Timetable management, etc. |  | 3 |  |
|  | 25 | 401000250 | HikCentral-E-Education-FRS-Module | Facial Recognition Module Expansion Package - Including black list, white list management. Prerequisite: Video Surveillance Base package. Supported: Facial recognition monitoring and operation, Person name & picture search, Person face matched/mismatched alarm, etc. |  | 1 |  |
|  | 26 | 401000410 | HikCentral-E-Education-AR-Module | AR Visualization Module Basic Module - including AR visualization management all functions. Prerequisite: Video Surveillance Base package. Supported: One Module support up to 2 Scenes which including Tag Manegement, Live View and Playback under AR scene, PTZ control, Data visualization and etc. One AR module license supports only one scene, one more scene needs another module license. |  | 1 |  |
|  | 27 | 401000254 | HikCentral-E-Education-ATT-Module | Attendance Module Expansion Package - including all functions of time and attendance module( education staff). Prerequisite: Access Control Base package. Supported: Shift management, Attendance report, etc. |  | 1 |  |
|  | 28 | 401000402 | HikCentral-E-Education-SchgateATT-Module | School Gate Attendance Module Expansion Package- including all functions of school gate attendance (students). Prerequisite: Access Control Base Package Supported: Attendance point configuration, attendance rules configuration,records query,ect. |  | 1 |  |
|  | 29 | 401000256 | HikCentral-E-Education-Alarm-Base | Alarm System Base Package - Including security control panel's and panic alarm station's all functions. Supported: Security Control Panel, Panic Alarm Station, etc., Alarm Management, Arming/Disarming Control. |  | 1 |  |
|  | 30 | 401000469 | Hik-iVisual-UIPower-Theme-Education | Education 3D Dashboard Package- including 2 scenes to display all data of campus Prerequisite: UIPower Theme Base Package Scene one: display the operation and maintenance of equipment, personnel and vehicles, events and alarms in the campus Supported: Alarm management, maintenance management, personnel management, vehicle management, etc Scene two: display the teaching resources, attendance, live and recorded classroom conditions, etc Supported: Basic scale statistics, students attendance, digital signage, teaching sharing, etc Notes: Dashboard demonstrates particular map, data charts, animation and others, it is purely depends on project requirement and design, therefore it will be Project-based pricing, please consult Hikvison local representative for more details |  | 1 |  |
|  | 31 | 401000247 | HikCentral-E-Education-Service | HikCentral Enterprise-Education new function customization (per day per engineer) |  | 30 |  |
|  | 32 | 401000542 | HikCentral-E-ClassLink-Interaction | Synchronous Classroom Tool Base Package- including interactive teaching between different classrooms, realize the interaction between teachers and students of multiple classrooms. Teachers in a main classroom can share the whiteboard and courseware with students in other connected classrooms, and select tools to write annotations on the whiteboard and courseware to facilitate the teaching. Students can add annotations for a more interactive and creative class. Supported: instructional interaction, meeting management, classroom management, Whiteboard Interaction, Courseware Interaction. |  | 2 |  |
|  | 33 | 610100020 | ESS Audio/Video Session | Interactive service for multi-classroom solution, along with ClassLink Client |  | 2 |  |

2.3附件三：安装调试部分

| Location | Description | Model | Unit | Quantity |
| --- | --- | --- | --- | --- |
| C/D区3教室 | RACK | 12U 600X450CM | PCS | 2 |
|  | PACH PANEL | 1U 24 PORT CAT.6 | PCS | 2 |
|  | SWITCH TRAY | 1U 400X350 | PCS | 2 |
|  | HDMI CABLE | 2K4K 20M | PCS | 4 |
|  | TRUNKING | PVC 25X40MM | PCS | 10 |
|  | TRUNKING | PVC 25X25MM | PCS | 15 |
|  | CAT.6 CABLE | UTP | ROLL | 1 |
|  | BLACKBOARD | 5000x120CM | PCS | 2 |
|  | SMART SCREEN | 85 INCH | PCS | 3 |
|  | AP | TP-LINK 325 | PCS | 2 |
|  | CAMERA | INSTALLATION | PCS | 6 |
| 学生轨迹摄像 | CAT.6 CABLE | UTP | ROLL | 5 |
|  | PACH PANEL | 1U 24 PORT CAT.6 | PCS | 3 |
|  | TRUNKING | PVC 25X25MM | PCS | 30 |
|  | PIPE | PVC 3.2M2 | PCS | 20 |
|  | CAMERA | INSTALLATION | PCS | 30 |
| 人数统计 | CAT.6 CABLE | UTP | ROLL | 3 |
|  | PACH PANEL | 1U 24 PORT CAT.6 | PCS | 4 |
|  | TRUNKING | PVC 25X25MM | PCS | 30 |
|  | CAMERA | INSTALLATION | PCS | 14 |
| 教学楼顶 | AR CAMERA INSTALLATION | INSTALLATION | PCS | 1 |
|  |  | H2MXD10CM GALVANIZED POLE | PCS | 1 |
| 体育馆 | CAMPUS ALARM | INSTALLATION | PCS | 1 |
| GATE3 | VIDEO INTERCOM | INSTALLATION | PCS | 1 |
| 新增点位 | CAT.6 CABLE | UTP | ROLL | 2 |
|  | CAMERA | INSTALLATION | PCS | 7 |
| INTEGRATED WIRING |  |  | PCS | 1 |

2.4 附件四：设备安装点位图